| SECTION 3 – DESCRIPTION OF INSTALLATION COVERED BY THIS REPORT |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (Add additional pages, specification references or drawings (layout of installation on premises), etc, where applicable) |  |  |  |  |  |  |  |  |  |  |  |  |
| ………………………………………………………………………………………………………………………………………………………………………………. |  |  |  |  |  |  |  |  |  |  |  |  |
| ………………………………………………………………………………………………………………………………………………………………………………. |  |  |  |  |  |  |  |  |  |  |  |  |
| NUBMER OF CIRCUITS OR POINTS COVERED BY THIS REPORT |  |  |  |  |  |  |  |  |  |  |  |  |
| Circuit |  | Existing Installation |  |  |  |  | New/altered/temporary Installation |  |  |  |  |  |
|  |  | Main distribution board | Sub-distribution boards |  |  |  | Main distribution boards | Sub-distribution boards |  |  |  |  |
| Lighting circuits |  |  |  |  |  |  |  |  |  |  |  |  |
| Lighting points |  |  |  |  |  |  |  |  |  |  |  |  |
| Socket-outlet circuits |  |  |  |  |  |  |  |  |  |  |  |  |
| Sockets-outlets |  |  |  |  |  |  |  |  |  |  |  |  |
| Three phase socket outlet circuits |  |  |  |  |  |  |  |  |  |  |  |  |
| Three phase socket outlets |  |  |  |  |  |  |  |  |  |  |  |  |
| Socket outlets for critical application circuit |  |  |  |  |  |  |  |  |  |  |  |  |
| Socket outlet for critical applications |  |  |  |  |  |  |  |  |  |  |  |  |
| Mixed circuits (number of) |  |  |  |  |  |  |  |  |  |  |  |  |
| Motor circuits |  |  |  |  |  |  |  |  |  |  |  |  |
| Control circuits |  |  |  |  |  |  |  |  |  |  |  |  |
| Air-conditioning circuits |  |  |  |  |  |  |  |  |  |  |  |  |
| Motor controlled assembly circuits |  |  |  |  |  |  |  |  |  |  |  |  |
| Transformer circuits | Lighting |  |  |  |  |  |  |  |  |  |  |  |
|  | Bell |  |  |  |  |  |  |  |  |  |  |  |
|  | Other |  |  |  |  |  |  |  |  |  |  |  |
| Heating circuits |  |  |  |  |  |  |  |  |  |  |  |  |
| Fan circuits |  |  |  |  |  |  |  |  |  |  |  |  |
| Elevator/escalator circuits |  |  |  |  |  |  |  |  |  |  |  |  |
| Signage circuits |  |  |  |  |  |  |  |  |  |  |  |  |
| Fixed appliances circuit | Cooking |  |  |  |  |  |  |  |  |  |  |  |
|  | Geyser |  |  |  |  |  |  |  |  |  |  |  |
|  | Pool pump |  |  |  |  |  |  |  |  |  |  |  |
|  | Borehole pump |  |  |  |  |  |  |  |  |  |  |  |
|  | Other |  |  |  |  |  |  |  |  |  |  |  |
| Earth leakage | Main switch |  |  |  |  |  |  |  |  |  |  |  |
|  | Only socket outlet |  |  |  |  |  |  |  |  |  |  |  |
| Overhead busbars |  |  |  |  |  |  |  |  |  |  |  |  |
| Alternative power supply connections |  |  |  |  |  |  |  |  |  |  |  |  |
| Other circuits |  |  |  |  |  |  |  |  |  |  |  |  |

| SECTION 4 – INSPECTION AND TESTS (new and existing installations) |  |  |  |  |  | Additional tests added |  | - Yes |  |  |  | - No |  |  | - NA |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection NOTE: Answer “yes” or “N/A”. The report shall not be issued if any “No answers appear |  |  |  |  |  |  | Existing installation |  |  |  |  |  | New/altered/temporary Installation |  |  |  |  |
| - Accessible components are correctly selected |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - All protective devices are of correct rating |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - All protective devices are capable of withstanding the prospective fault level |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Conductors are of the correct rating and current carrying capacity for the protective devices and connected load |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Components have been correctly installed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Disconnecting devices are correctly located, and all switchgear switches the phase conductors |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Different circuit are separated electrically |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Connection of conductors and earthing and bonding are mechanically sound |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Connection of conductors and earthing and bonding are electrically continuous |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Circuits, fuses, switches terminals, earth, leakage, units, circuit breakers, distribution boards and correctly and permanently marked or labelled |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Where an electrical circuit passes through a fire barrier, the integrity of the fire barrier has been maintained |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Safety and emergency lighting and signs are functioning correctly |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - (a) in the case of new installation or additions or alterations to existing installation, the new added or altered installation complier with this part of SANS 10142 Or (b) In the case of installation that existed before the publication of this edition of SANS 10142, the installation complies with the general safety requirements in this edition of this part of SANS 10142 and is reasonably safe NOTE 1: Confirm (a) or (b) and (b) on test report NOTE 2: Confirm N/A in the case of (a) or (b) where applicable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Where an alternative supply is installed, it complies with the requirements in respect of connections change over switch and indicator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - The position of the readily accessible earthing terminal for earth connections of other services by installers of such services (see 6.11.5) is indicated on the distribution board (see 6.6.1.21(e) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tests Carry out all the tests for the main distribution board. Also conduct all tests and complete copies of the tests for each Distribution board and for each supply (normal and alternative Supplies) and attach as annexes to this report |  |  |  |  |  |  | Reading/result |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Units | Instrument | Existing installation |  |  |  |  |  | New/altered/ Temporary installation |  |  |  |  |
| - Continuity of bonding |  |  |  |  | Ω |  |  |  |  |  |  |  |  |  |  |  |  |
| - Resistance of earth continuity conductor |  |  |  |  | Ω |  |  |  |  |  |  |  |  |  |  |  |  |
| - Continuity of ring circuits (if applicable) |  |  |  |  | - |  |  |  |  |  |  |  |  |  |  |  |  |
| - Earth loop impedance test |  |  |  |  | Ω |  |  |  |  |  |  |  |  |  |  |  |  |
| - Prospective short circuit current |  |  |  |  | KA |  |  |  |  |  |  |  |  |  |  |  |  |
| Indicate | KA | - Calculated | - Measured | - Supplier |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Elevated voltage between incoming neutral and external earth (ground) |  |  |  |  | V |  |  |  |  |  |  |  |  |  |  |  |  |
| - Earth resistance at electrode (if required) |  |  |  |  | Ω |  |  |  |  |  |  |  |  |  |  |  |  |
| - Insulation resistance |  |  |  |  | MΩ |  |  |  |  |  |  |  |  |  |  |  |  |
| - Voltage at main distribution board with no load for each phase to neutral |  |  |  |  | V |  |  |  |  |  |  |  |  |  |  |  |  |
| - Voltage at main distribution board with load (as calculated for full load for each phase to neutral |  |  |  |  | V |  |  |  |  |  |  |  |  |  |  |  |  |
| - Voltage at available load (worst condition as calculated for full load) for each phase to neutral |  |  |  |  | V |  |  |  |  |  |  |  |  |  |  |  |  |
| - Operation of all earth leakage units |  |  |  |  | mA |  |  |  |  |  |  |  |  |  |  |  |  |
| - Operation of all earth leakage test buttons |  |  |  |  | - |  | Correct |  |  |  |  |  | Correct |  |  |  |  |
| - Polarity of points of consumption |  |  |  |  | - |  | Correct |  |  |  |  |  | Correct |  |  |  |  |
| - Phase rotation of points of consumption for three phase systems |  |  |  |  | - |  | Correct |  |  |  |  |  | Correct |  |  |  |  |
| - All switching devices make and break circuits |  |  |  |  | - |  | Correct |  |  |  |  |  | Correct |  |  |  |  |
| Comments: …………………………………………………………………………………………………………………………………………………………………. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ……………………………………………………………………………………………………………………………………………………………………………….. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ……………………………………………………………………………………………………………………………………………………………………………….. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments on parts of the installation not covered by this report: …………………………………………………………………………………………………… |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ……………………………………………………………………………………………………………………………………………………………………………….. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ………………………………………………………………………………………………………………………………………………………………………………. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |